***Annual Drinking Water Quality Report for 2019***

#### Wooded Acres Mobile Home Park

## 307 Rathburn Road

**Public Water Supply ID # 3700940**

**INTRODUCTION**

To comply with State and Federal regulations, Wooded Acres Mobile Home Park will be issuing an annual report describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water awareness and the need to protect our drinking water sources. Last year, your tap water met all State drinking water health standards. This report provides an overview of last year’s water quality. Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact Brian Dooley (owner) at 585-924-1934. We want you to be informed about your drinking water, and we will be available to discuss any drinking water issues in person.

**WHERE DOES OUR WATER COME FROM?**

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include: microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants. In order to ensure that tap water is safe to drink, the New York State Department of Health (NYS DOH) and the Environmental Protection Agency (EPA) prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. The NYS DOH and the Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

**FACTS & FIGURES**

Our water system currently serves approximately 40 people through 14 service connections. The park’s water source consists of one 45-foot drilled well. The well is located within the mobile home park by the pump house. The well water is pumped to one 3,000-gallon storage tank. The water is disinfected with liquid sodium hypochlorite (chlorine) by an injection pump at the pump house prior to distribution.

**SOURCE WATER ASSESSMENT**

The NYS DOH has completed a source water assessment for this system, based on available information. Possible and actual threats to this drinking water source were evaluated. The state source water assessment includes a susceptibility rating based on the risk posed by each potential source of contamination and how easily contaminants can move through the subsurface to our well. **The susceptibility rating is an estimate of the potential for contamination of the source water, it does not mean that the water delivered to you is or will become contaminated.** See section “*Are there contaminants in our drinking water*?” for a list of the contaminants that have been detected. The source water assessments provide resource managers with additional information for protecting source waters into the future.

As mentioned before, our water is derived from a single drilled well. The source water assessment has rated this well as having a very high susceptibility to nitrates, bacteria & viruses, high susceptibility to salts, sulfate, industrial solvents, petroleum products, metals and other industrial contaminants. It has a medium-high susceptibility rating for herbicide/pesticide contamination. These ratings are due primarily to the proximity of a permitted discharge facility (industrial/commercial facilities that discharge wastewater into the environment and are regulated by the state and/or federal government) and the presence of nearby septic systems. In addition, the well is believed to draw from a fractured bedrock aquifer and no lower permeability layer exists above it. This means that the overlying soils may not provide adequate protection from potential contamination.

**Please note that the finished water delivered into your home meets the New York State’s drinking water standards.**

A copy of this assessment, including a map of the assessment area, can be obtained by contacting us, as noted below.

### ARE THERE CONTAMINANTS IN OUR DRINKING WATER?

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include total coliform, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, total trihalomethanes, haloacetic acids, radiological and synthetic organic compounds. The table presented below depicts which compounds were detected in your drinking water. The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the Oswego County Health Department at (315) 349-3564.

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| *TABLE OF DETECTED COMPOUNDS* | | | | | | | | | | |
| **Contaminant** | **Violation (Yes/No)** | **Date of**  **Sample** | **Level**  **Detected**  **(Avg/Max)**  **(Range)** | **Unit**  **Measure**  **-ment** | **MCLG** | | **Regulatory Limit (MCL, TT or AL)** | | **Likely Source of Contamination** | |
| Microbiological Contaminants | | | | | | | | | | |
| Total Coliform Bacteria | No  No  No  No  No | 3-11-19  6-07-19  7-30-19  8-27-19  10-24-19 | Neg  Neg  Neg  Neg  Neg | N/A | 0 | | AL=2 or more positive samples | | Coliforms are bacteria that are present in the environment and are used as an indicator that other, potentially harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems | |
| E. Coli | No  No  No  No  No | 3-11-19  6-07-19  7-30-19  8-27-19  10-24-19 | Neg  Neg  Neg  Neg  Neg | N/A | 0 | | AL = any positive samples | | E.coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children and people with severely compromised immune systems | |
| **Inorganic Contaminants** | | | | | | | | | | |
| Barium | No | 12/9/19 | 0.522 | mg/L | 2 mg/L | | 2 mg/L | | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. | |
| Nitrate | No | 3/11/19 | 3.02 | mg/L | 10 mg/L | | 10 mg/L | | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits. | |
| Copper | No | 8/26/14 | 0.036\*  (0.011 – 0.04) | mg/L | 1.3 mg/L | | AL = 1.3 mg/L | | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. | |
| Lead | No | 8/26/14 | 0.85\*  (ND – 1.7) | ug/L | 0 | | AL = 15 ug/L | | Corrosion of household plumbing systems; Erosion of natural deposits. | |
| **Disinfection By-Products** | | | | | | | | | | |
| Total trihalomethanes  (TTHM) | No | 8/20/14 | 2 | ug/L | N/A | | 80 ug/l | | By-product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains large amount of organic matter. | |
| Radiological Contaminants | | | | | | | | | | |
| Radium 226 | No | 10/10/13 | 0.20 | pCi/L | | 0 pCi/L | | 5 pCi/L1 | | Erosion of natural deposits |
| Radium 228 | No | 10/10/13 | 0.26 | pCi/L | | 0 pCi/L | | 5 pCi/L1 | | Erosion of natural deposits |
| Gross Alpha2 | No | 10/10/13 | 0.35 | pCi/L | | 0 pCi/L | | 15 pCi/L | | Decay of natural deposits and man-made emissions. |
| Gross Beta | No | 10/10/13 | 0.43 | pCi/L | | 0 pCi/L | | 50 pCi/L3 | | Decay of natural deposits and man-made emissions |

|  |
| --- |
| **NOTES:**  **\***During 2014, we collected and analyzed 5 samples for lead and copper. The levels included in the table represent the average of the two highest levels detected for lead and copper. The action level for lead and copper was not exceeded at any of the sites tested.  1MCL is for combined Radium 226 & 228.  2Gross alpha excludes Radon & Uranium.  3The State considers 50 pCi/L to be the level of concern for beta particles.  **DEFINITIONS:**  ***Maximum Contaminant Level* (MCL):** The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible.  ***Maximum Contaminant Level Goal* (MCLG):** The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.  ***Maximum Residual Disinfectant Level* (MRDL):** The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.  ***Maximum Residual Disinfectant Level Goal* (MRDLG):** The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.  ***Action Level* (AL):** The concentration of a contaminant, which, if exceeded, triggers treatment or other requirements, which a water system must follow.  ***Treatment Technique* (TT):** A required process intended to reduce the level of a contaminant in drinking water.  ***Non-Detects* (ND):** Laboratory analysis indicates that the constituent is not present.  ***Milligrams per liter* (mg/L):** Corresponds to one part of liquid in one million parts of liquid (parts per million - ppm).  ***Micrograms per liter* (ug/L):**Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).  ***Picocuries per liter* (pCi/L*)*:**A measure of the radioactivity in water. |

**WHAT DOES THIS INFORMATION MEAN?**

As you can see by the table, our system had no violations in 2019. We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State.

**IS OUR WATER SYSTEM MEETING OTHER RULES THAT GOVERN OPERATIONS?**

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards

**DO I NEED TO TAKE PRECAUTIONS? IS OUR WATER SAFE FOR EVERYONE?**

Although our drinking water met or exceeded State and Federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care provider about their drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia, and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791). Please note that testing of the water at this system has shown that this water is suitable for drinking water purposes and contains very low amounts of contaminants and should not pose any health risks.

**Information for Non-English-Speaking Residents**

**Spanish**

Este informe contiene información muy importante sobre su agua beber. Tradúzcalo ó hable con alguien que lo entienda bien.

**French**

Ce rapport contient des informations importantes sur votre eau potable. Traduisez‑le ou parlez en avec quelqu’un qui le comprend bien.

###### **Why Save Water and How to Avoid Wasting It?**

Although our system has an adequate amount of water to meet present and future demands, there are several reasons why it is important to conserve water:

* Saving water saves energy and some of the costs associated with both of these necessities of life.
* Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and
* Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential firefighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can. It is not hard to conserve water. Conservation tips include:

* Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded. So, get a run for your money and load it to capacity.
* Turn off the tap when brushing your teeth.
* Check every faucet in your home for leaks. Just a slow drip can waste 15 to 20 gallons a day. Fix it up and you can save almost 6,000 gallons per year.
* Check your toilets for leaks by putting a few drops of food coloring in the tank, watch for a few minutes to see if the color shows up in the bowl. It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks. Fix it and you save more than 30,000 gallons a year.

**CLOSING**

Thank you for allowing us to continue providing your family with quality drinking water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary to address improvements. We ask that all our customers help us protect our water sources, which are the heart of our community. Please review the attached water source protection, and water conservation tips sheet. Please call our office if you have questions.